[image: image1.png]



    City of Blue Lake
   Consumer Confidence Report for 2012
Water Quality Report
Introduction and Background

For a number of years, California State Law has required that water systems prepare an Annual Water Quality Report for its customers providing information regarding the quality of water delivered to them.  This report represents the City of Blue Lake’s 2012 Consumer Confidence Report. California regulations prescribe what information must be presented by public water systems in their Consumer Confidence Report. It is a snapshot of the quality of the water that we provided last year.  Included are details about where your water comes from, what it contains, and how it compares to State standards. 

If you have any questions about this report or the quality of your drinking water, please call Glenn Bernald at 668-5655.

 Water Source

Drinking water delivered by the City of Blue Lake is purchased from Humboldt Bay Municipal Water District (HBMWD). The water is drawn from wells located in the bed of the Mad River northeast of Arcata.  These wells, called Ranney Wells, draw water from the sands and gravel of the riverbed at depths of 60 to 90 feet, thereby providing a natural filtration process. In summer this naturally filtered water is then disinfected via chlorination and delivered to the District’s wholesale municipal and retail customers in the Humboldt Bay area. In winter it is further treated at a regional Turbidity Reduction Facility (TRF) which reduces the occasional turbidity (cloudiness) in the District’s source water. While turbidity itself is not a health concern, the California Department of Public Health (CDPH) became concerned that at elevated levels, turbidity could potentially interfere with the disinfection process.
   The District’s source water has been classified by the CDPH as groundwater.  The classification is important with respect to the regulations that a water system must follow to ensure water quality.              

Water Quality in General

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791) or visiting their website (http://www.epa.gov/drink/).
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and can pick up substances resulting from the presence of animals or from human activity. 

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals,  that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

· Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the United States Environmental Protection Agency (USEPA) and the CDPH prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.
Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791) and website (http://water.epa.gov/drink/index.cfm).
The City Of Blue Lake’s Water Quality Results 

In order to ensure that tap water is safe to drink, the CDPH prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  Humboldt Bay Municipal Water District treats its water and performs annual monitoring and testing, in accordance with CDPH regulations and requirements, to ensure its water is safe to drink. In 2012 the District conducted approximately 380 water quality tests for 90 contaminants. The City of Blue Lake additionally performed 76 water quality tests within the City’s water distribution system. The results from the 2012 monitoring and testing program indicate that our water quality is very high, as has consistently been the case in past years.                                                                                       

    The attached table lists all the drinking water contaminants that were detected during 2012. It also lists the microbiological contaminants even though there were no positive tests.  Additionally, the State allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year.  Therefore, results from prior years are included if such a contaminant was detected when it was last tested.  As you can see, there are very few entries in the table because very few contaminants were actually detected in 2010 and prior years.  It is once again important to note that the presence of these contaminants does not necessarily indicate that the water poses a health risk.
     Coliform bacteria are naturally present in the environment and are used as an indicator that other bacteria may be present coliform testing is part of the water quality testing program to help signal if there is a problem with the treatment or distribution system which warrants further investigation. During 2012, HBMWD had zero positive coliform Bacteria test results.  The City of Blue Lake had zero positive coliform test results.
     Turbidity is a measure of the cloudiness of the water. HBMWD monitors it because it is a good indicator of water quality. Since the Turbidity Reduction Facility (TRF) became operational in late 2002, HBMWD has met the State’s secondary maximum contaminant level standard for turbidity.
      You will find many terms and abbreviations in the attached table.  To help you understand these terms, the following definitions are provided:
· Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency.

· Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency.

· Maximum Contaminant Level (MCL):  The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs cover the aesthetic quality of the water such as odor, taste, and appearance.

· Primary Drinking Water Standard or PDWS: MCLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

· Regulatory Action level (AL):  The concentration of a contaminant which, when exceeded, triggers treatment or other requirements that a water system must follow.

· n/a: not applicable 

· ND: not detectable at testing limit

· ppb: parts per billion or micrograms per liter (µg/L)

· ppm: parts per million or milligrams per liter (mg/L)

· pCi/l: picocuries per liter (a measure of radiation)

· mgCaCO3/L: milligrams of calcium carbonate per liter (a measure of hardness)

· microhmos: a measure of specific conductance

· NTU: Nephelometric Turbidity Units
Additional Water Characteristics

Sodium and Hardness 

Although sodium and hardness do not have MCLs, they are of interest to many consumers who are concerned about sodium intake.
Hardness is the sum of polyvalent cations present in the water, generally magnesium and calcium. (samples taken in 2005)  The cations are usually naturally-occurring. 

Sodium refers to the salt present in the water and is generally naturally occurring. (samples taken in 2007)
.

	Contaminant

and Units
	Level Detected
	MCL
	PHG

(or MCLG)
	Likely Source and Potential Effects (if above MCL)

	Microbiological Contaminants

	Total Coliform Bacteria
	Zero positive
	Zero positive
	Zero positive
	Coliform bacteria are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present.

	Fecal Coliform

and E. coli.
	Zero positive
	Zero positive
	Zero positive
	Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes.

	Disinfection Byproducts and Disinfection Residuals

	TTHMs – Total Trihalomethanes
Chlorine
HAA5
(Halocetic Acids)
	Average = 7.8 ug/L
Average = 0.68 mg/L
Average = 1.2  ug/l
	80ug/L
4mg/L
60ug/L
	n/a

4 mg/L
n/a
	By-product of drinking water chlorination
Drinking water disinfectant added for treatment
By-product of drinking water chlorination


	Inorganic Contaminants

	Copper (ppm)
ten sites tested *
	None above the AL.

90th percentile = 0.840
	AL = 1.3mg/L
	0.3 mg/l
	Internal corrosion of household plumbing; erosion of natural deposits; leaching from wood preservatives

	Lead (ppb)
Ten sites tested  *
	None above the AL
90th percentile=1.5
	AL = 15ug/L
	.2ug/l
	Internal corrosion of household plumbing, erosion of natural deposits, discharges from industrial manufacturers

	Aluminum (mg/l) ****
	0.16
	1 mg/l
	0.6 mg/l
	Discharges from industrial manufacturers , erosion of natural deposits.


	Regulated Contaminants with Secondary MCLs
(as defined above, secondary MCLs address aesthetic quality of the water such as odor, taste, and appearance)

	Chloride (mg/L) ***
	Average = 2.8
	500 mg/l
	n/a
	Runoff/leaching from natural deposits, or seawater influence



	Sulfate (mg/L)**
	Average = 9.5
	500 mg/l
	n/a
	Runoff/leaching from natural deposits; industrial wastes



	Specific Conductance

(uS/cm)***
	Average = 120

	1,600 uS/cm
	n/a
	Substances that form ions when in water

	Total Dissolved Solids (mg/L) ***
	Average = 93
	1,000 mg/l
	n/a
	Runoff/leaching from natural deposits



	Turbidity

(NTU)
	Range=0.05-0.55 NTU
Average = .14 NTU
	5 NTU
	n/a
	Turbidity has no health effects. However, high levels of turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms.  These organisms include bacteria, viruses, and parasites  that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.


* Sample taken in 2011, ** Sample taken in 2008, ***Sample taken in 2007, ****Sample taken in  2006
Sodium (ppm)�
3.6 �
�
Hardness  


(mgCaCO3/L)�
Range = 57 – 80


Average = 67�
�









City of Blue Lake 2012 CCR


