## 2012 Consumer Confidence Report

| Water System Name: | El Dorado Mutual Water Company | Report Date: | June 5, 2013 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2012 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

| Type of water source(s) in use: | Ground-Water |
| --- | --- |
| Name & location of source(s): | Ground-Water Well from the Wellsite at Avenue N-8 and 10th Street West |
| Drinking Water Source Assessment information: | The CDPH has determined that water storage tanks may be |
| vulnerable to contamination and ground-water is vulnerable to nitrates from septic tanks. |
| Time and place of regularly scheduled board meetings for public participation: | Board meetings on the 4th Tuesday of |
| each month and the Annual Shareholders meeting held on the 3rd Saturday in September. |
| For more information, contact: | Jeanne Miller | Phone: | (661 ) 947-3255 |
| TERMS USED IN THIS REPORT |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: Department permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the California Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |
| --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria | 0 | 0 | More than 1 sample in a month with a detection | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli | 0 | 0 | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli | 0 | Human and animal fecal waste |
| TAble 2 – SAMPLING RESULTS FOR sodium and hardness |
| Chemical or Constituent (and reporting units) | Source | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | Well | 110 |  | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) as CaCO3 | Well | 260 |  | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

**Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

| TAble 3 – detection of contaminants with a Primary Drinking Water Standard |
| --- |
| Chemical or Constituent (and reporting units) | Source | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Nitrate (as NO3) mg/L | Well | 6.4 | 6.3 – 6.5 | 45 | 45 | Run off/leaching from septic tanks and fertilizer use. Erosion of natural deposits |
| Fluoride mg/L | Well | 0.29 |  | 2 | 1 | Erosion of natural deposits; discharge from fertilizer . |
| Chlorine (as Cl2) mg/L | Distribution System | 0.36 | 0.31 – 0.45 | 4 | 4 | Water Treatment Requirement |
| Barium mg/L | Well | 0.11 |  | 2 | 1 | Erosion of Natural Deposits |
| Haloacetic Acids ug/L | Distribution System | 1.5 | 0 – 2.9 | 60 | N/A | By-product of drinking water chlorination |
| Total Trihalomethanes ug/L | Distribution System | 6.1 | 1.6 – 14.0 | 80 | N/A | By-product of drinking water chlorination |
| TAble 4 – detection of contaminants with a Secondary Drinking Water Standard There are no PHGs, MCLGs, or mandatory health effects language for these constituents because secondary MCLs are set on the basis of aesthetics. |
| Chemical or Constituent (and reporting units) | Source | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Chloride mg/L | Well | 70 |  | 500 | N/A | Run-off/leaching from natural deposits |
| Sulfate mg/L | Well | 170 |  | 500 | N/A | Run-off/leaching from natural deposits |
| Color units | Well | < 1 |  | 15 | N/A | Naturally occurring organic materials. |
| Turbidity units | Well | < 0.1 |  | 5 | N/A | Soil run-off |
| Total Dissolved Solids mg/L | Well | 620 |  | 1000 | N/A | Run-off/leaching from natural deposits |
| Specific Conductance umhos | Well | 930 |  | 1600 | N/A | Substances that form ions when in water |
| TAble 5 – detection of UNREGULATED CONTAMINANTS |
| Chemical or Constituent (and reporting units) | Source | Level Detected | Range of Detections | Notification Level | Health Effects Language |
| Calcium mg/L | Well | 78 |  | N/A | Informational purposes for consumers |
| Magnesium mg/L | Well | 17 |  | N/A | Informational purposes for consumers |
| Potassium mg/L | Well | 2.8 |  | N/A | Informational purposes for consumers |
| Total Alkalinity (as CaCO3) mg/L | Well | 230 |  | N/A | Informational purposes for consumers |
| Bicarbonate Alkalinity (HCO3) mg/L | Well | 280 |  | N/A | Informational purposes for consumers |
| .pH units | Well | 8.1 |  | N/A | Informational purposes for consumers |

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Your Water Company is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

El Dorado Mutual Water Company is pleased to report that our drinking water meets or exceeds State, and Federal standards. This report is designed to inform you about the quality of the water delivered to you every day. Our goal is to provide all shareholders with a safe, dependable supply of potable water. We have been operating solely from our well but have access to AVEK (aqueduct) water for emergency situations.  Testing is performed for many other constituents not listed on this report due to no detection. Complete documentation of our ground-water laboratory test results is available for review in the Water Company office. AVEK’s test results can be found online at www.avek.org.

Road/Utility Easements must be kept free from obstruction. Property owners are responsible for the maintenance of their easements.  A $500.00 fine will be assessed for abandoned appliances, furniture, building materials, debris and trash left for over 7 days on the Private Road and Water Company Easements. Property owners will also be billed the cost for the removal of debris and easement obstructions.

Meters are read during the first 5 days of the month. The date of the reading is printed on your water bill. Property owners are encouraged to read their own water meters to monitor water use. If your water charges appear excessive, please check for a leak on your side of the meter before contacting the Company office to have your meter re-read.  This can be accomplished by making sure there is no running water inside your house or on the property and then lifting the lid on your water meter to check if the dial is moving. If there is any movement of the meter dial, this indicates a leak on your side of the meter and is your responsibility.  Read your meter then run your automatic sprinklers through one cycle manually. Read your water meter again and you will know how much water is used each time your sprinklers turn on.

Contact Steve Sprunger at 406-4944 for maintenance issues and Jeanne Miller for billing questions, at the Water Company Office.

CONTACT THE WATER COMPANY OFFICE IF YOU WOULD LIKE TO SERVE ON THE BOARD OF DIRECTORS.

Water Conservation Tips for Consumers

Did you know that the average U.S. household uses approximately 400 gallons of water per day or 100 gallons per person per day?  When you live on acreage, your water use can be 10 times more than the national average. Luckily, there are many low-cost and no-cost ways to conserve water.  Small changes can make a big difference. Your efforts to conserve water will ensure an adequate supply for everyone during the hot summer months.

Fix leaking toilets and faucets. To check your toilet for a leak, place a few drops of food coloring in the tank and wait.  If it seeps into the toilet bowl without flushing, you have a leak.  Fixing it or replacing it with a new, more efficient model can save up to 1,000 gallons a month.

Adjust sprinklers so only your lawn is watered.  Apply water only as fast as the soil can absorb it and during the cooler parts of the evening or at night to reduce evaporation.

Teach your kids about water conservation to ensure a future generation that uses water wisely.  Make it a family effort to reduce next month’s water bill!

Visit www.epa.gov/watersense for more information.