## 2013 Consumer Confidence Report

| Water System Name: | West Side Park Mutual Water Co. | Report Date: | June 14, 2014 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2013 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

| Type of water source(s) in use: | Ground Water Wells |
| --- | --- |
| Well 01 and Well 02, 40317 11th St. West, Palmdale, CA 93551 |
| Drinking Water Source Assessment information: Well 01 assessment was completed in April 2002 by LPA Los Angeles Co., and may be viewed at 5050 Commerce Dr., Baldwin Park, Ca 91706. Well 02 Assessment was completed in June 2007, by the company, and may be viewed at 5050 Commerce Dr., Baldwin Park, CA 91706, or at the Water Co. Office. There has been no incidence of any contamination arising from the listed vulnerability activities | Well 01: The Source is considered most vulnerable to the following activities not associated with any detected contaminants; Septic systems – high density (<1 acre). Well 01 has shown to be at most vulnerable to the chemicals: at this time, no chemicals have been detected that will affect the quality of the drinking water. Well 02 has shown no vulnerability at this time associated with the chemicals in the water. The Source is considered most vulnerable to the following activities not associated with any detected contaminants; Septic systems – high density (< 1 acre), above ground storage tanks, and animal operations that may be in proximity. |
| Time and place of regularly scheduled board meetings for public participation: | Board meetings are held the lst Thurs. of each month at 7:00 p.m. Share-holders are welcome to attend. If you wish to address the board on an issue, please call ahead to be placed on the agenda. |
| For more information, contact: | Mary Wood | Phone: | (877) 500-3880, Ext. 3 |
| TERMS USED IN THIS REPORT |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: Department permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the California Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |
| --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria | (In a mo.) 0 | None | More than 1 sample in a month with a detection | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli | (In the year) 0 | None | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli | 0 | Human and animal fecal waste |
| Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |
| Lead and Copper (complete if lead or copper detected in the last sample set) | Sample Date | No. of samples collected | 90th percentile level detected | No. sites exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) | 8/30/11 | 10 | N/D | None | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits. |
| Copper (ppm) | 8/30/11 | 10 | 0.36 | None | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| TAble 3 – SAMPLING RESULTS FOR sodium and hardness |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) Well 01 Well 02 | 6/19/12 4/05/11 | 98 | 96 – 100 | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) Well 01 Well 02 | 6/19/12 4/05/11 | 255 | 220-290 | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

| TAble 4 – detection of contaminants with a Primary Drinking Water Standard |
| --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Nitrate (ppm) Well 01 Well 02 | 8/27/13 8/06/13 | 5.9 | 5.7 – 6.1 | 45 | 2.0 | Runoff & leaching from fertilizer use; from septic & sewage, erosion of natural deposits. |
| Fluoride (ppm) Well 01 Well 02 ____________________ Total TTHM (ppb) Mar. June Sept Dec ____________________ Total HAA5 (ppb) Mar June Sept Dec Gross Alpha Well 01 (pCi/L) | 6/19/12 4/05/11 ________ 4 qtrs 2013 ________ 4 qtrs 2013 ________ 6/19/12 | 0.27 1.3 ____________ 0.3 ____________ 4.9 | 0.20-0.34 N/D – 2.2 _____________ N/D – 1.3 ___________ N/A | 2.0 80 _______ 60 _______ 15 | 0.10 1.0 _________ 1.0 3 | Erosion of natural deposits; water additive that promotes strong teeth; discharge from fertilizer and aluminum factories . By product of drinking water disinfection. ____________________________ By product of drinking water disinfection. Erosion of natural deposits. |
| TAble 5 – detection of contaminants with a Secondary Drinking Water Standard |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Chloride (ppm) Well 01 Well 02 | 6/19/12 4/05/11 | 75 | 72 – 78 | 500 | 1.0 | Runoff/leaching from natural deposits. |
| Sulfate (ppm) Well 01 Well 02 Specific Conductance (EC) Well 01 Well 02 Turbidity NTU Well 01 Well 02 | 6/19/12 4/05/11 6/19/12 4/05/11 6/19/12 4/05/11 | 150 910 0.45 | 140-160 870 – 950 ____________ 0.3 – 0.6 | 500 _______ 1,600 5.0 | 0.5 2.0 0.3 | Runoff/leaching from natural deposits. Substances that form ions when in water; seawater influence. Runoff/leaching from natural deposits. |
| TAble 6 – detection of UNREGULATED CONTAMINANTS |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | Notification Level | Health Effects Language |

*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language for Community Water Systems:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  West Side Park Mutual Water Co. is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

SEE HEALTH EFFECTS LANGUAGE ON PAGE 6.

Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement

| VIOLATION OF A MCL, MRDL, AL, TT, OR MONITORING AND REPORTING REQUIREMENT |
| --- |
| Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| NONE |  |  |  |  |

For Water Systems Providing Ground Water as a Source of Drinking Water

| TAble 7 – SAMPLING RESULTS SHOWING feCal indicator-positive ground water source samples |
| --- |
| Microbiological Contaminants (complete if fecal-indicator detected) | Total No. of Detections | Sample Dates | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| E. coli | (In the year) None |  | 0 | (0) | Human and animal fecal waste |
| Enterococci | (In the year) None |  | TT | n/a | Human and animal fecal waste |
| Coliphage | (In the year) None |  | TT | n/a | Human and animal fecal waste |

Summary Information for Fecal Indicator-Positive Ground Water Source Samples,
Uncorrected Significant Deficiencies, or Ground Water TT

| SPECIAL NOTICE OF FECAL INDICATOR-POSITIVE GROUND WATER SOURCE SAMPLE |
| --- |
| THERE WERE NONE. |
| SPECIAL NOTICE FOR UNCORRECTED SIGNIFICANT DEFICIENCIES |
| THERE WERE NONE. |
| VIOLATION OF GROUND WATER TT |
| TT Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| NONE |  |  |  |  |

For Systems Providing Surface Water as a Source of Drinking Water

| Table 8 - sampling results showing TREATMENT OF SURFACE WATER SOURCES |
| --- |
| Treatment Technique (a) (Type of approved filtration technology used) |  |
| Turbidity Performance Standards (b) (that must be met through the water treatment process) | Turbidity of the filtered water must: 1 – Be less than or equal to _____ NTU in 95% of measurements in a month. 2 – Not exceed _____ NTU for more than eight consecutive hours. 3 – Not exceed ____ NTU at any time. |
| Lowest monthly percentage of samples that met Turbidity Performance Standard No. 1. |  |
| Highest single turbidity measurement during the year |  |
| Number of violations of any surface water treatment requirements |  |

(a)	A required process intended to reduce the level of a contaminant in drinking water.

(b)	Turbidity (measured in NTU) is a measurement of the cloudiness of water and is a good indicator of water quality and filtration performance.  Turbidity results which meet performance standards are considered to be in compliance with filtration requirements.

* Any violation of a TT is marked with an asterisk.  Additional information regarding the violation is provided below.

Summary Information for Violation of a Surface Water TT

| VIOLATION OF A SURFACE WATER TT |
| --- |
| TT Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| NONE |  |  |  |  |

Summary Information for Operating Under a Variance or Exemption

OPERATING UNDER NO VARIANCES OR EXCEMPTIONS.

Last year, 2013, the water delivered to your tap met all EPA and State drinking water health standards.  West Side Park Mutual Water Co., vigilantly safeguards it’s water supplies and once again, we are proud to report that our system has never violated a maximum contaminant level or any other water quality standard.  This report is a snapshot of last year’s water quality.  Where there is a range detected shown, the average of each result is used.  The average of the two results is the detected level.  Both wells feed the distribution system, and are stored in our tanks until the water is distributed to the system.

TABLE 4 – Regulated Contaminants with Primary Standards

Nitrate  - Infants below the age of six months who drink water containing nitrate in excess of the MCL (45 ppm) may quickly become seriously ill and, if untreated, may die because high nitrate levels can interfere with the capacity of the infant’s blood to carry oxygen.  Symptoms include shortness of breath and blueness of the skin.  High nitrate levels may also affect the oxygen-carrying ability of the blood of pregnant women.

Fluoride – Some people who drink water containing fluoride in excess of the Federal MCL (4 ppm) over many years may get bone disease, including pain and tenderness of the bones.  Children who drink water containing fluoride in excess of the State MCL of 2 ppm may get mottled teeth.

TTHM –The level detected in our drinking water is a small amount.  Some people who drink water containing trihalomethanes in excess of the MCL (80 ppb) over many years may experience liver, kidney, or central nervous system problems, and may have an increased risk of getting cancer.

HAA5 – Some people who drink water containing halocetic acids in excess of the MCL (60 ppb) over many years may experience liver, kidney, or central nervous system problems.  Also, they may have an increased risk of getting cancer.

TABLE 5 – Regulated Contaminants with Secondary Standards  set on the basis of aesthetics.

Chloride – Chlorides are not considered a health problem at the level detected.

Copper – Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time may experience gastrointestinal distress.  Some people who drink water containing copper in excess of the action level over many years may suffer liver or kidney damage.  People with Wilson’s Disease should consult their personal doctor.

Sulfate – There are no known health effects of sulfate in the levels detected.  Persons who drink water with a higher level than the MCL may experience diarrhea.

Specific Conductance – There is no known health effect.

Total Dissolved Solids – Are the sum of solids that have dissolved in the water, such as calcium, minerals, and some organics.  There are no known health effects for this constituent at the level detected.  Higher levels may cause scaling in plumbing.

Turbidity – Turbidity has no health effects.  Turbidity is a measure of the cloudiness of the water.  However, high levels of turbidity can interfere with disinfection and provide medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms.  These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.  The units of turbidity detected in our water is approximately half the MCL, and should not cause any of the above listed effects.