## 2014 Consumer Confidence Report

| Water System Name: | Big Pine Community Service District | Report Date: | 7/10/2015 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2014 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

| Type of water source(s) in use: | 1 Primary groundwater well and 1 backup ground water well |
| --- | --- |
| Name & general location of source(s): | Primary well SW of community. Backup well located in District boundary. |
| Drinking Water Source Assessment information: | Source assessment is accomplished by DWP and reported to State. |
| Time and place of regularly scheduled board meetings for public participation: | 7;00 PM at District office the 3rd |
| Wednesday of every month unless noticed otherwise. |
| For more information, contact: | BPCSD office | Phone: | ( 760 ) 938-2660 |
| TERMS USED IN THIS REPORT |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |
| --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria | (In a mo.) | 0 | More than 1 sample in a month with a detection | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli | (In the year) | 0 | A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli | 0 | Human and animal fecal waste |
| Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |
| Lead and Copper (complete if lead or copper detected in the last sample set) | Sample Date | No. of samples collected | 90th percentile level detected | No. sites exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) | 2011 | 10 | ND | 0 | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 2011 | 10 | ND | 0 | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| VIOLATION For period of 2012- 2014 BPCSD failed to comply with the Lead and Copper Rule monitoring requirements. Specifically, the District did not collect any samples in its fifth round of triennial (T5) lead and copper tap sampling. CORRECTIVE ACTION BPCSD will take the required samples between June and September, 2015. |
| TAble 3 – SAMPLING RESULTS FOR sodium and hardness |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | 8/26/2014 | 17.15 | 12.8-21.5 | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 8/26/2014 | 83.5 | 80-87 | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |

*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

| TAble 4 – detection of contaminants with a Primary Drinking Water Standard |
| --- |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Arsenic (ppb) | 8/26/2014 | 1.4 | ND to 1.4 | 10 | .004 | Erosion of natural deposits, runoff from orchards. |
| Barium (ppm) | 8/26/2014 | .0138 | .0114-.0162 | 1 | 2 | Some people who drink water containing barium in excess of the MCL over many years may experience an increase in blood pressure. |
| Fluoride (ppm) | 8/26/2014 | 0.163 | ND to 0.163 | 2 | 1 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Nitrate (as nitrate, NO3) (ppm) | 8/26/2014 | 2.062 | .904-3.22 | 45 | 2 | Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits |
| TAble 5 – detection of contaminants with a Secondary Drinking Water Standard |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Color (ACU) | 8/26/2014 | 3.0 | 3.0 | 15 |  | Naturally-occurring organic materials |
| Chloride (ppm) | 8/26/2014 | 12.765 | 4.93-20.6 | 250 |  | Runoff/Leaching from natural deposits |
| Iron (ppb) | 8/26/2014 | 391.5 | 0-783 | 300 |  | Leaching from natural deposits; industrial wastes |
| Manganese (ppb) | 8/26/2014 | 2.2 | 0-4.4 | 50 |  | Leaching from natural deposits |
| PH Units | 8/26/2014 | 6.97 | 6.56-7.38 | 8.5 |  | Physical characteristic |
| Turbidity (NTU) | 8/26/2014 | 0.15 | 0.1-0.2 | 5 |  | Soil runoff |
| Zinc (ppm) | 8/26/2014 | .079 | 0-0.158 | 5 |  | Runoff/Leaching from natural deposits; industrial wastes |
| Total Dissolved Solids (TDS) (ppm) | 8/26/2014 | 145.5 | 137-154 | 1000 |  | Runoff/Leaching from natural deposits |
| Specific Conductance (µS/cm) | 8/26/2014 | 249 | 232-266 | 1600 |  | Substances that form ions when in water; seawater influence |
| Chloride (ppm) | 8/26/2014 | 12.765 | 4.93-20.6 | 500 |  | Runoff/leaching from natural deposits; seawater influence |
| Sulfate (ppm) | 8/26/2014 | 12.6 | 12.0-13.2 | 500 |  | Runoff/Leaching from natural deposits; industrial wastes |
| TAble 6 – detection of UNREGULATED CONTAMINANTS |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | Notification Level | Health Effects Language |
| Calcium (ppm) | 8/26/2014 | 25.9 | 25.5-26.3 | none | Natural constituent |
| Magnesium (ppm) | 8/26/2014 | 4.605 | 4.08-5.13 | 0.5 | Natural constituent |

*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language for Community Water Systems:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Big Pine Community Service District is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

Summary Information for Violation of a MCL, MRDL, AL, TT, 
or Monitoring and Reporting Requirement

| VIOLATION OF A MCL, MRDL, AL, TT, OR MONITORING AND REPORTING REQUIREMENT |
| --- |
| Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| Failure to collect tap samples for Lead and Copper Monitoring Rule during compliance period of 2012 - 2014 | Distribution operator had illness and couldn’t perform monitoring | Monitoring to be accomplished 1time every 3 years between June and September, 2015 | Monitoring to be accomplished between June and September of 2015 | See California Regulations Title 22 http://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/documents/lawbook/dwregulations-2014-07-01.pdf |
| Failure to conduct yearly sampling for Stage 2 Disinfection By-Products monitoring during 2014 | Distribution operator had illness and couldn’t perform monitoring | Monitoring to be accomplished by September 30, 2015 | Monitoring to be accomplished by September 30, 2015 | See California Regulations Title 22 http://www.waterboards.ca.gov/drinking_water/certlic/drinkingwater/documents/lawbook/dwregulations-2014-07-01.pdf |

See notice later in the CCR.

### IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Este informe contiene información muy importante sobre su agua potable.

Tradúzcalo o hable con alguien que lo entienda bien.

Monitoring Requirements Not Met for Big Pine Community Service District

Our water system failed to monitor as required for drinking water standards during the past year and, therefore, was in violation of the regulations.  Even though this failure was not an emergency, as our customers, you have a right to know what you should do, what happened, and what we did to correct this situation.

We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not our drinking water meets health standards.  During July 2014 and September 2014, we did not monitor or test or testing for lead and copper and Disinfection Byproducts and therefore, cannot be sure of the quality of our drinking water during that time.

What should I do?

- There is nothing you need to do at this time.

- The table below lists the contaminant(s) we did not properly test for during the last year, how many samples we are required to take and how often, how many samples we took, when samples should have been taken, and the date on which follow-up samples were (or will be) taken.

| Contaminant | Required Sampling Frequency | Number of Samples Taken | When All Samples Should Have Been Taken | When Samples Were or Will Be Taken |
| --- | --- | --- | --- | --- |
| Lead | 1 time every 3 years | 0 | Between June and September of 2014 | Between June and September of 2015 |
| Copper | 1 time every 3 years | 0 | Between June and September of 2014 | Between June and September of 2015 |
| Stage 2 Disinfectants and disinfection byproducts testing | 1 Sample every year | 0 | By September 30 2014 | By September 30 2015 |

- If you have health issues concerning the consumption of this water, you may wish to consult your doctor.

#### What happened?  What is being done?

Our Distribution Operator was seriously ill during the testing period. The District failed to conduct or collect samples during the compliance period of 2012 – 2014.  Re-testing will be accomplished by the end of September 2015 for the Stage 2 monitoring and the hottest month of 2015 for Lead and Copper monitoring.

For more information, please contact Big Pine Community Service District at 760 938-2660, or by mail to BPCSD, PO Box 639, Big Pine CA 93513.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this public notice in a public place or distributing copies by hand or mail.

Secondary Notification Requirements

Upon receipt of notification from a person operating a public water system, the following notification must be given within 10 days [Health and Safety Code Section 116450(g)]:

- SCHOOLS: Must notify school employees, students, and parents (if the students are minors).

- RESIDENTIAL RENTAL PROPERTY OWNERS OR MANAGERS (including nursing homes and care facilities):  Must notify tenants.

- BUSINESS PROPERTY OWNERS, MANAGERS, OR OPERATORS:  Must notify employees of businesses located on the property.

This notice is being sent to you by Big Pine Community Service District.

State Water System ID#: 1410006.  Date distributed: July 15, 2015