**WATER QUALITY REPORT 2015**

**Spanish (Espanol)**

Este informe contiene informacion muy importante sobre la calidad de su agua beber. Traduscalo o hable con alguien que lo entienda bien.

**Is my water safe?**

Last year, as in years past, your tap water met all U.S. Environmental Protection Agency (EPA) and state drinking water health standards. Local Water vigilantly safeguards its water supplies. The Pinecrest Permittees Association sent out over 300 tests to independent labs for your water this year.

**Do I need to take special precautions?**

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Water Drinking Hotline (800-426-4791).

**Where does my water come from?**

Our water comes from two wells and three surface sources. The wells are located near Camp Chinquapin and off Meadowview Road. The surface sources are the Lake. The North Fork of the Tuolumne and Sheering Creek. Water from the wells flows directly into the systems without treatment. The surface water sources are filtered and disinfected before the water enters the system. An assessment of our source water was completed in June of 2011.

**Source water assessment and its availability**

The lake source is considered most vulnerable to the following activities not associated with any detected contaminants: recreational area, sewer collection systems. The North Fork and Sheering Creek sources are not considered vulnerable to any potential contaminating activities at this time. A completed copy of the assessments may be viewed at the Association’s shop facility on Pinecrest Ave. With the treat of another dry year we will be asking all Permittees to conserve more than ever we usually have water for our needs but we need to be mindful of our neighbors to the South.

**Why are there contaminants in my drinking water?**

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline (800-426-4791). The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity:

microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; organic Chemical Contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; and radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

**IF lead is present.** Elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Pinecrest Permittees Association is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at <http://www.epa.gov/safewater/lead> The running of water is always a good idea if you have been gone for any extended period.

|  |
| --- |
| **summary information** |
| The Stage (2 DBPR) DISINFECTION BY PRODUCT RULE monitoring plan is to monitor (TTHM and HAA5) for 2014 the results for both sites where that there was none detected. In 2015 we had a result of 66.2 for HAA5 which is above the MCL of 60. I believe that is due to The drought. We have taken 3 more samples with an average of 33.8 well below the MCL of 60. We will keep a close watch on this. |
| **Other Information** |

The Association board of directors generally meets five times a year at the date and time shown in the minutes of the previous meeting. If any would like to attend guest are always welcome. If anyone would like to see the over 40 results for each site please call the G.M.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  | | --- | | **Water Quality Data Table** | |  |   **Water Quality Data Table** | | | | | | | | | | | |
| The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. The presence of contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants change frequently. | | | | | | | | | | | |
|  | | | | | | | | | | | |
|  | **MCLG** | **MCL,** |  |  |  | |  |  | |  | | | |
|  | **or** | **TT, or** | **Your** | **Range** | | | **Sample** |  | |  | | | |
| **Contaminants** | **MRDLG** | **MRDL** | **Water** | **Low** | **High** | | **Date** | **Violation** | | **Typical Source** | | | |
|  | | | | | | | | | | | | | |
| **Disinfectants & Disinfection By-Products** | | | | | | | | | | | | | |
| (There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.) | | | | | | | | | | | | | |
| Haloacetic Acids (HAA5) (ppb) | NA | 60 | 66.2 | 0 | 0 | | 2015 | \***yes** | | By-product of drinking water chlorination | | | |
| TTHMs [Total Trihalomethanes] (ppb) | NA | 80 | 26.2 | 0 | 0 | | 2015 | No | | By-product of drinking water disinfection | | | |
| Free Chlorine  (mg/l) | NA | 4.0 | .69 | 0.3 |  | | 2015 | No | | Used for disinfection | | | |
| **Inorganic Contaminants** | | | | | | | | | | | | | |
| Nitrate [measured as Nitrogen] (ppm | 1000 | 1000 | ND | ND | ND | | 2014 | No | | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural  deposits | | | |
| Perchlorate | 6 | 6 | ND | ND | ND | | 2015 | No | | Contaminant in ground water and surface water from the dissolution of ammonium potassium, magnesium or sodium salts | | | |
| **Microbiological Contaminants** | | | | | | | | | | | | | |
| Turbidity (NTU) | NA | .1 | 0.050 | .01 | .12 | | 2015 | No | | Soil runoff | | | |
| The highest single measurement was .12 any month with an average over .1 is a violation unless approved by the state. | | | | | | | | | | | | | |
| **Radioactive Contaminants** | | | | | | | | | | | | | |
| Alpha emitters (pCi/L) | 0 | 15 | 0.0637 | 0.0637 | 0.0637 | | 2006 | No | | Erosion of natural deposits | | | |
|  | | | | | | | | | | | |
|  |  |  | **Your** | **Sample** | | **# Samples** | | | **Violation** | |  | |
| **Contaminants** |  | **MCL** | **Water** | **Date** | | **5** | | |  | | **Typical Source** | |
|  | | | | | | | | | | | | |
| **Inorganic Contaminants** | | | | | | | | | | | | |
| Copper - action level at consumer taps (ppm)  lead |  | 1000 | ND  ND ND | 2013  2013 | | 5  5 | | | NO  NO | | Corrosion household pipeing  pipes household plumbing systems; Erosion of natural deposits | |
|  | | | | | | | | | | | |

|  |
| --- |
|  |
| at  a |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | | | |
|  | | | | | | | | | |
| **Additional Contaminants 2015** | | | | | | | | | |
| In an effort to insure the safest water possible the State has required us to monitor some contaminants not required by Federal regulations. Of those contaminants only the ones listed below were found in your water. | | | | | | | | | |
|  | | | | | | | | | |
| **Contaminants** | **State MCL** | | | **Your Water** | | **Violation** | | | **Explanation and Comment** |
|  | | | | | | | | | |
| color | 15 units | | | 3 | | No | | |  |
| odor | 3 units | | | 1.5 units | | No | | |  |
| total dissolved solids | 1000 ppm | | | 84 ppm | | No | | |  |
| Specific Conductants | 1600 micrograms | | | 133 ppm | | No | | |  |
| chloride (ppm) | 500 ppm | | | ND | | No | | |  |
| Sulfate | 500 ppm | | | 3.45 | | No | | |  |
| Hardness | 0 ppm | | | 5ppm | | No | | |  |
|  | | | | | | | | | |
|  | | | | | | | | | |
|  | | | | | | | | | |
| **Undetected Contaminants 2014** | | | | | | | | | |
| The following contaminants were monitored for, but not detected, in your water. | | | | | | | | | |
|  | | | | | | | | | |
|  | **MCLG** | | **MCL** | |  | |  |  | | |
|  | **or** | | **or** | | **Your** | |  |  | | |
| **Contaminants** | **MRDLG** | | **MRDL** | | **Water** | | **Violation** | **Typical Source** | | |
|  | | | | | | | | | |
| **Inorganic Contaminants** | | | | | | | | | |
| Sodium (optional) (ppm) |  | | MPL | | 8.38 | | No | Erosion of natural deposits; Leaching | | |
| **Radioactive Contaminants** | | | | | | | | | |
| Radium (combined 226/228) (pCi/L) | 0 | | 5 | | ND | | No | Erosion of natural deposits | | |
|  | | | | | | | | | |
|  | | | | | | | | | |
| **Unit Descriptions** | | | | | | | | | |
| **Term** | | **Definition** | | | | | | | |
| ppm | | ppm: parts per million, or milligrams per liter (mg/L) | | | | | | | |
| ppb | | ppb: parts per billion, or micrograms per liter (µg/L) | | | | | | | |
| pCi/L | | pCi/L: picocuries per liter (a measure of radioactivity) | | | | | | | |
| NTU | | NTU: Nephelometric Turbidity Units. Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system. | | | | | | | |
| NA | | NA: not applicable | | | | | | | |
| ND | | ND: Not detected | | | | | | | |
| NR | | NR: Monitoring not required, but recommended. | | | | | | | |
|  | | | | | | | | | |
|  | | | | | | | | | |