Cold Springs Water Company, Inc.

29820 Highway 108

Cold Springs, CA 95335

209 965-3716

Consumer Confidence Report

2015

Cold Springs Water Company is committed to providing the residents of Cold Springs and Peter Pam with a safe and reliable supply of high-quality drinking water. This annual “Consumer Confidence Report,” tells you where your water comes from, what it contains, and how it compares to state standards. We are committed to providing you with information because informed customers are our best allies.

California is in its fifth year of low rainfall and snow pack, and it’s continuing to impact our water sources. Although last winter was wetter than the previous four, we are not yet back to normal.  The State of California has yet to lift the restrictions they put in place, so your continued conservation efforts are still required and appreciated. You can do this by eliminating all outside watering and washing of cars, boats, and trailers. By limiting your shower to five minutes or less you can save up to 1,000 gallons of water a month. Please be sure to fix all leaks inside and outside of your home. We have continued to do our part by repairing all leaks as soon as they become known.

Our non-revenue water for 2015 was 16.13% of all water produced.

Our water is tested using sophisticated equipment and advanced procedures. The water provided by Cold Springs Water Company exceeds state and federal standards for both appearance and safety.  Once again we are proud to report that our system has never violated a maximum contaminant level or any other water quality standard.

The primary source of water supply for Cold Springs Water Company is Kerns Creek, which is a tributary of the north fork of the Tuolumne River.  This creek is spring fed and has a watershed of approximately two square miles. Our watershed is in and below a designated experimental forest, and spotted owl habitat, therefore there will be no logging or any other activities in the area. Sources of contamination here are almost zero due to its location.  We have a permit granted us by the U.S. Forest Service for our small diversion dam, and it is inspected at least four times a month and is drained and cleaned biannually.

The well in Peter Pam (state well no. 57914) is our secondary water source. It is 580 feet deep, comprised of lava conglomerate and dark gray sand stone from 290 feet to 405 feet and from 405 feet to 580 feet hard granite. We have the pump set at a depth of 380 feet and at this time it will provide 50 gallons per minute.

To ensure that tap water is safe to drink, the Environmental Protection Agency (EPA) prescribes limits on the amount of certain contaminants in water provided by public water systems.  Drinking water, including bottled water, may reasonably be expected to contain small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  More information about contaminates and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operation, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which come from a variety of sources such as agriculture and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are byproducts of industrial processes and can also come from gas stations, and septic systems.

- Radioactive contaminants, which can be naturally occurring or can be the result of oil and gas production or mining activities.

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immune-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care provider. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Crypto sporidium are available from the Safe Drinking Water Hotline (1-800-426-4791).

#### Water Quality Data

PRIMARY STANDARDS - MANDATORY HEALTH RELATED STANDARDS ESTABLISHED BY THE STATE OF CALIFORNIA, DEPARTMENT OF HEALTH SERVICES.

###### Kerns

PARAMETER			UNITS	         MCL	Creek

### CLARITY

Average raw Turbidity		NTU		5       	 .29

Average treated Turbidity				 .047

Turbidity is a measure of the cloudiness of the water.  We monitor it because it is a good indicator of the effectiveness of

our filtration system.

MICROBIOLOGICAL (1)		Samples are taken from each distribution point each month

Coliform Bacteria number of positive samples	                0

Fecal coliforms or E.coli, number of positive samples          0

Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present. Fecal coliforms and E.coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes.

Average Chlorine Residuals			1.13 mg/L

Maximum allowed 4.0 mg/L

The addition of chlorine is a required process intended to reduce the level of contaminants in drinking water.

REGULATED ORGANIC CHEMICALS (1)

Test date   1/14/15, 4/9/15, 7/8/15,10/14/15

Bromodichloromethane		NS		ND

Bromoform			NS		ND

Chloroform		 	NS		49.4

Dibromochloromethane		NS		ND

Total Trihalomethanes		80		49.4

Dibromoacetic Acid		NS		ND

Dichloroacetic Acid		NS		17

Monochloroacetic Acid		NS		ND

Monobromoacetic  Acid		NS		0

Trichloroacetic Acid		NS		18.5

Total Haloacetic Acids		60		35.5

These are by products of drinking water disinfection.  Some people who drink water containing these in excess of the MCL over many years may experience adverse health affects.

REGULATED ORGANIC CHEMICALS (2)	 `		Kerns 	Peter Pam

AND UNREGULATED ORGANIC CHEMICALS  		 Creek	   Well

8/13/15	   7/2014

All Chemicals tested           			   	    	 ND	    ND

INORGANIC CHEMICALS (2)				             Kerns	Peter Pam

PARAMETER			UNITS		MCL               	 Creek	   Well

## Test date 		         		 		           8/13/15	7/2014

Aluminum			UG/L		1000		 ND	    ND

Antimony			UG/L		  6		 ND	    ND

Arsenic				UG/L		10		 ND	    ND

Asbestos	 		MF/L				 ND	    ND

Barium				UG/L		1000		 ND           ND

Beryllium			UG/L		4		 ND	    ND

Cadmium			UG/L		5		 ND	    ND

Chromium			UG/L		50		 ND	    ND

Copper				UG/L		1000		 ND	    ND

Iron				UG/L		300		 ND 	    ND

Lead				UG/L		50		 ND	    ND

Manganese			UG/L		50		 ND	    ND

Mercury				UG/L		2		 ND	    ND

Nickel				UG/L		100		 ND	    ND

Nitrate as N (Nitrogen)		UG/L		10000	 	 ND           ND

Nitrate + Nitrate as N		UG/L		1000		 ND           ND

Selenium			UG/L		50		 ND	    ND

Silver				UG/L		100		 ND	    ND

Thallium			UG/L		2	 	 ND	    ND

Perchlorate		    	UG/L		6		 ND	    ND

Perchlorate is an inorganic chemical used in solid rocket propellant, fireworks, explosives, flares, matches and a variety of industries.

SECONDARY STANDARDS (2) - AESTHETIC STANDARDS ESTABLISHED BY THE STATE OF CALIFORNIA, DEPARTMENT OF HEALTH SERVICES.  Secondary MCL’s are set to protect the odor, taste, and appearance of drinking water.

Kerns       Peter Pam

PARAMETER			UNITS		MCL	   Creek	Well

Test Date				   		   8/13/15        7/2014

Total Filterable Residue		MG/L		1000	      92		190

Color				UNITS		15   	      0		3         Naturally occurring organic materials

Odor Threshold			UNITS		3	      1.0		1.0     Naturally occurring organic materials

Chloride			MG/L		500	      2.96	1.71  Leaching from natural deposits

Foaming Agents (MBAs)	MG/L		0.5	      ND		ND    Industrial waste deposits

Sulfate				MG/L		500	      2.07            5.94   Leaching from natural deposits

Specific Conductance (EC)	UMHO/CM	900	      147             	282   Substances that form ions when in water

Peter Pam

ADDITIONAL CONSTITUENTS ANALYZED (2)          Kerns Creek        Well

Test Date						8/13/15	            7/2014     Hardness” is the sum of polyvalent

Total Hardness			MG/L		NS	    63.0	                89       cations present in the water,

Calcium			MG/L		NS            18	                14         generally magnesium and calcium.

Magnesium			MG/L		NS	    4.5	                13       Cations are naturally occurring.

Sodium				MG/L		NS	    6.2	                4.6      Sodium refers to the salt present

Potassium			MG/L		NS	    2.6	                2.7       in water and is generally naturally

Total Alkalinity			MG/L		NS	    81	                176     occurring.

Hydroxide			MG/L		NS	    ND	                ND

Carbonate			MG/L		NS	    ND	                ND

Bicarbonate			MG/L		NS	    99	                215

Nitrite (As NO3)			MG/L	             45	    ND                    2.0	 Test date 8/13/15

Fluoride (natural-source)	MG/l		2	    ND	                ND

Zinc	 			UG/L		5000	    ND	                ND

Peter Pam

RADIOLOGICAL CHEMICALS (2)			Kerns Creek	    Well

Tested 07/2014

Gross Alpha			pCi/L	       	15	      .018	     1.06

Gross Alpha MDA95		pCi/L			      1.18	     1.34

Tested 6/2007

Total Radium 228		pCi/L		 2	       0		      0

Total Radium 228 MDA9	pCi/L		   	      .5		     .5

Radioactive contaminants are caused by the decay and erosion of natural and man-made deposits. Drinking water with excess of the MCL over many years may have adverse health affects.

# Lead & Copper (water tested from inside homes)	  Number of	    90th	                                  		 Tested 09/2011			UNITS                                samples          percentile

Lead				UG/L		.015	        10		     0   (ND)

Copper				UG/L		1000	        10		    88

Concerning Lead

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Cold Springs Water Company is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available form the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

LEGEND

MCL		MAXIMUM CONTAMINATE LEVEL-The highest level of a contaminant that is allowed in drinking water.

NS		NO STANDARD

NTU		NEPHELOMETRIC TURBIDITY UNITS

ND		NONE DETECTED

MG/L		MILLIGRAMS PER LITER (PARTS PER MILLION)

UG/L		MICROGRAMS PER LITER (PARTS PER BILLION)

(1)		ANALYSIS PERFORMED ON TREATED WATER

- ANALYSIS PERFORMED ON RAW WATER

We are happy to answer any questions you may have about our water quality. Please contact Jeff Kerns or Dave Falk at Cold Springs Water Company, 29820 Highway 108, Cold Springs, CA  95335.  (209) 965-3716.