## 2016 Consumer Confidence Report

| Water System Name: | Blue Skies Living Mobile Home Park | Report Date: | June 14, 2017 |
| --- | --- | --- | --- |

We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2016 and may include earlier monitoring data.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

| Type of water source(s) in use: | Ground Water Well |
| --- | --- |
| Name & general location of source(s): | Well 01 – 34220 Cheseboro Road, Palmdale, CA 93552 |
| Drinking Water Source Assessment information: A source Assessment was completed by LPA, Los Angeles Co., Dept. of Public Health, Drinking water Div. in May 2002. | The source is considered most vulnerable to the following activities no associate with any detected contaminants; Transportation corridors- Road/Street. At the time of the Assessment there were no chemicals detected that would affect the quality of the drinking water. A copy of the complete assessment may be viewed at: Dept of Public Health, Drinking Water Div. 505 Commerce Dr. Baldwin Park. CA 91706. A copy may also be viewed at the MHP Office. Contact Slobodan Stepanovic with any questions. |
| Time and place of regularly scheduled board meetings for public participation: | Residents of the Park are advised of any necessary information by the Manager and meetings may be called when there is a need. |
| For more information, contact: | Slobodan Stepanovic | Phone: | (661) 533-1448 |
| TERMS USED IN THIS REPORT |
| Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water. Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible. Secondary MCLs are set to protect the odor, taste, and appearance of drinking water. Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs are set by the U.S. Environmental Protection Agency (USEPA). Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health. PHGs are set by the California Environmental Protection Agency. Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements. | Secondary Drinking Water Standards (SDWS): MCLs for contaminants that affect taste, odor, or appearance of the drinking water. Contaminants with SDWSs do not affect the health at the MCL levels. Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water. Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow. Variances and Exemptions: State Board permission to exceed an MCL or not comply with a treatment technique under certain conditions. Level 1 Assessment: A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system. Level 2 Assessment: A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions. ND: not detectable at testing limit ppm: parts per million or milligrams per liter (mg/L) ppb: parts per billion or micrograms per liter (µg/L) ppt: parts per trillion or nanograms per liter (ng/L) ppq: parts per quadrillion or picogram per liter (pg/L) pCi/L: picocuries per liter (a measure of radiation) |

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

- Radioactive contaminants, that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the State Water Resources Control Board (State Board) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  State Board regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, and 6 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The State Board allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.  Any violation of an AL, MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

| Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria |
| --- |
| Microbiological Contaminants (complete if bacteria detected) | Highest No. of Detections | No. of months in violation | MCL | MCLG | Typical Source of Bacteria |
| Total Coliform Bacteria (state Total Coliform Rule) | (In a mo.) 0 | None | 1 positive monthly sample | 0 | Naturally present in the environment |
| Fecal Coliform or E. coli (state Total Coliform Rule) | (In the year) 0 | None | A routine sample and a repeat sample are total coliform positive, and one of these is also fecal coliform or E. coli positive | 0 | Human and animal fecal waste |
| E. coli (federal Revised Total Coliform Rule) | (from 4/1/16-12/31/16) | None | (a) | 0 | Human and animal fecal waste |
| (a) Routine and repeat samples are total coliform-positive and either is E. coli-positive or system fails to take repeat samples following E. coli-positive routine sample or system fails to analyze total coliform-positive repeat sample for E. coli. |
| Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper |
| Lead and Copper (complete if lead or copper detected in the last sample set) | Sample Date | No. of samples collected | 90th percentile level detected | No. sites exceeding AL | AL | PHG | Typical Source of Contaminant |
| Lead (ppb) **Although the 90th Percentile is above the MCL of 15, this only occurred in one home.. | 5/31/16 7/19/16 | 5 5 | 17 30.5 | 1 1 | 15 | 0.2 | Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits |
| Copper (ppm) | 5/31/16 7/19/16 | 5 5 | N/D N/D | None None | 1.3 | 0.3 | Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| **** rEAD mORE ABOUT THE lEAD IN THE HEALTH EFFECTS ON PAGE 7 TAble 3 – SAMPLING RESULTS FOR sodium and hardness |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Sodium (ppm) | 5/31/16 | 43 | N/A | none | none | Salt present in the water and is generally naturally occurring |
| Hardness (ppm) | 5/31/16 | 280 | N/A | none | none | Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring |
| TAble 4 – detection of contaminants with a Primary Drinking Water Standard |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| Fluoride (ppm) | 5/31/16 | 0.35 | N/A | 0.10 | 2 | Erosion of natural deposits; Water additive which promotes strong teeth. Discharge from fertilizer and aluminum factories. |
| Uranium pCi/L ____________________ Gross Alpha (pCi/L) ____________________ TTHM (ppb) ____________________ HAA5 (ppb) ____________________ Barium (ppm) ____________________ Chromium 6 (ppb) Dibromochloropropane *DBCP (ppb) | 5/31/16 ________ 5/31/16 ________ 6/25/15 ________ 6/25/15 ________ 5/31/16 ________ 5/31/16 5/31/16 | 1.9 ____________ 11 ____________ 11.15 ____________ 2.35 ____________ 0.14 1.4 1.0 | N/A ____________ N/A _____________ 9.3 – 13.0 _____________ 2.1 – 2.6 _____________ N/A N/A N/A | 20 _______ 15 _______ 80 _______ 60 _______ 1.0 _______ 10 200 | 1.0 _________ 3.0 _________ 1.0 1.0 _________ 0.10 0.02 1.7 | Erosion of natural deposits. ____________________________ Erosion of natural deposits. ____________________________ Byproduct of drinking water disinfectant. ____________________________ By product of drinking water Disinfectant. ____________________________ Discharges of oil drilling wastes and from metal refineries; erosion of natural deposits. Discharge from electroplating factories, leather tanneries, wood preservation, chemical synthesis, refractory production, and textile manufacturing facilities; erosion of natural deposits. Banned nematocide that may still be present in soils due to runoff/leaching from former use on soybeans, cotton, vineyards, tomatoes and tree fruit. |
| TAble 5 – detection of contaminants with a Secondary Drinking Water Standard |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | MCL | PHG (MCLG) | Typical Source of Contaminant |
| Chloride (ppm) | 5/31/16 | 16 | N/A | 500 | 1.0 | Runoff/leaching from natural deposits; seawater influence. |
| Sulfate (ppm) ____________________ Specific Conductance (E.C.) ____________________ Total Dissolved Solids (ppm) | 5/31/16 ________ 5/31/16 ________ 5/31/16 | 110 ____________ 710 480 | N/A _____________ N/A N/A | 500 _______ 1600 5.0 | 0.05 _________ 2.0 1000 | Runoff/leaching from natural deposits; industrial wastes. ____________________________ Substances that form ions when in water; sea water influence. Runoff/leaching from natural deposits. |
| TAble 6 – detection of UNREGULATED CONTAMINANTS |
| Chemical or Constituent (and reporting units) | Sample Date | Level Detected | Range of Detections | Notification Level | Health Effects Language |
| Boron (ppm) . | 5/31/16 | 0.13 | N/A | 1.0 | The babies of some pregnant women who drink water containing boron in excess of the notification level may have an increased risk of developmental effects, based on studies in laboratory animals. |

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Lead-Specific Language for Community Water Systems:  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Blue Skies Living Mobile Village is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. [Optional: If you do so, you may wish to collect the flushed water and reuse it for another beneficial purpose, such as watering plants.] If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (1-800-426-4701) or at http://www.epa.gov/lead.

You are receiving a Lead Education Letter with this report. See Health Effects Language on Page 7, and also the Lead Information on Page 5. This is for your information.

Summary Information for Violation of a MCL, MRDL, AL, TT,
or Monitoring and Reporting Requirement

| VIOLATION OF A MCL, MRDL, AL, TT, OR MONITORING AND REPORTING REQUIREMENT |
| --- |
| Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| Exceed Action Level | In one unit, lead exceeded the MCL | 45 days during which time repeat tests were completed and remedial steps to alleviate problem | Plumbing lines and fixtures were completely replaced in the unit | See Health Effects Language below |

***Infants and children who drink water containing lead in excess of the action level may experience delays in their physical or mental development. Children may show slight deficits in attention span and learning abilities. Adults who drink this water over many years may develop kidney problems or high blood pressure. Also see page 4 for additional information regarding lead. A subsequent test taken after the remediation was completed result was 9.1, and a recent test taken 5/29/17 result was “None Detected” Occupant of the unit used bottled water for drinking and cooking during the duration of the exceedance of the MCL.

For Water Systems Providing Ground Water as a Source of Drinking Water

| TAble 7 – SAMPLING RESULTS SHOWING feCal indicator-positive ground water source samples |
| --- |
| Microbiological Contaminants (complete if fecal-indicator detected) | Total No. of Detections | Sample Dates | MCL [MRDL] | PHG (MCLG) [MRDLG] | Typical Source of Contaminant |
| E. coli | (In the year) None |  | 0 | (0) | Human and animal fecal waste |
| Enterococci | (In the year) None |  | TT | n/a | Human and animal fecal waste |
| Coliphage | (In the year) None |  | TT | n/a | Human and animal fecal waste |

Summary Information for Fecal Indicator-Positive Ground Water Source Samples,
Uncorrected Significant Deficiencies, or Ground Water TT

| SPECIAL NOTICE OF FECAL INDICATOR-POSITIVE GROUND WATER SOURCE SAMPLE |
| --- |
| There was no was Fecal Indicator positive ground water source sample. |
| SPECIAL NOTICE FOR UNCORRECTED SIGNIFICANT DEFICIENCIES |
| The Lead deficiency was addressed: Re-tested and deficiency was remediated by replacement of all plumbing lines and fixtures in the unit that had the lead level above the MCL. |
| VIOLATION OF GROUND WATER TT |
| TT Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| None |  |  |  |  |

For Systems Providing Surface Water as a Source of Drinking Water

| Table 8 - sampling results showing TREATMENT OF SURFACE WATER SOURCES |
| --- |
| Treatment Technique (a) (Type of approved filtration technology used) |  |
| Turbidity Performance Standards (b) (that must be met through the water treatment process) | Turbidity of the filtered water must: 1 – Be less than or equal to _____ NTU in 95% of measurements in a month. 2 – Not exceed _____ NTU for more than eight consecutive hours. 3 – Not exceed ____ NTU at any time. |
| Lowest monthly percentage of samples that met Turbidity Performance Standard No. 1. |  |
| Highest single turbidity measurement during the year |  |
| Number of violations of any surface water treatment requirements |  |

(a)	A required process intended to reduce the level of a contaminant in drinking water.

(b)	Turbidity (measured in NTU) is a measurement of the cloudiness of water and is a good indicator of water quality and filtration performance.  Turbidity results which meet performance standards are considered to be in compliance with filtration requirements.

Summary Information for Violation of a Surface Water TT

| VIOLATION OF A SURFACE WATER TT |
| --- |
| TT Violation | Explanation | Duration | Actions Taken to Correct the Violation | Health Effects Language |
| There is no surface water used in this system. |  |  |  |  |

Summary Information for Operating Under a Variance or Exemption

The System if not operating under a Variance or Exemption.

Summary Information for Federal Revised Total Coliform Rule

Level 1 and Level 2 Assessment Requirements

Level 1 or Level 2 Assessment Requirement not Due to an E. coli MCL Violation

Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system.  We found coliforms indicating the need to look for potential problems in water treatment or distribution.  When this occurs, we are required to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments.

During the past year we were not required to conduct any Level 1 assessment(s) because there was no positive coliform present in any test.  In addition, we were not required to take corrective actions.

During the past year no Level 2 assessments were required to be completed for our water system because there was no positive coliform present in any test in our system.

There was no positive coliform in any of the tests found in our system.

Level 2 Assessment Requirement Due to an E. coli MCL Violation

E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes.  Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms.  They may pose a greater health risk for infants, young children, the elderly, and people with severely-compromised immune systems.  We found E. coli bacteria, indicating the need to look for potential problems in water treatment or distribution.  When this occurs, we are required to conduct assessment(s) identify problems and to correct any problems that were found during these assessments.

We were required to complete no Level 2 assessment because we no found E. coli in our water system.

There was no E. coli MCL Violation in any of the tests in our system.

HEALTH EFFECTS LANGUAGE:

TABLE 4 – DETECTION OF CONTAMINANTS WITH A PRIMARY DRINKING WATER STANDARD

FLUORIDE – Some people who drink water containing fluoride in excess of the Federal MCL (4ppm) over many years may get bone disease, including pain and tenderness of the bones.  Children who drink water containing fluoride in excess of the State MCL of 2 ppm may get mottled teeth.

URANIUM – Some people who drink water containing Uranium in excess of the MCL over many years may have kidney problems or an increased risk of getting cancer.

GROSS ALPHA – Certain minerals are radioactive and may emit a form of radiation known as alpha radiation.  Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer.

TTHM – Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience liver, kidney, or central nervous system problems, and may have an increased risk of getting cancer.

HAA5 – Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

BARIUM – Some people who drink water containing barium in excess of the MCL over many years may experience an increase in blood pressure.

CHROMIUM 6 (Hexavalent) – Some people who drink water containing hexavalent chromium in excess of the MCL over many years may have an increased risk of getting cancer.

DIBROMOCHLOROPROPANE *DBCP – Some people who use water containing DBCP in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer.

TABLE 5 – DETECTION OF CONTAMINANTS WITH A SECONDARY DRINKING WATER STANDARD.  Secondary standards are based on aesthetics.

CHLORIDE – Chlorides are not considered a health problem at the level detected.

SULFATE – There are no known health effects of sulfate in the levels detected.  Persons who drink water with a higher level than the MCL may experience diarrhea.

SPECIFIC CONDUCTANCE – There is no known health effect.

TOTAL DISSOLVED SOLIDS (TDS)- TDS are the sum of solids that have dissolved in the water, such as calcium, minerals, and some organics.  There are no known health effects for this constituent at the level detected.  Higher levels may cause scaling in plumbing

HEALTH EFFECTS LANGUAGE FOR TABLE 6 ARE LISTED IN THAT SECTION.

REMEMBER TO CONSERVE WATER, EVEN THOUGH THE GOVERNOR HAS LIFTED THE STRICK CONSERVATION REQUIREMENTS, WATER IS STILL A PRECIOUS RESOURCE, USE IT WISELY.